## Slide 1: Feedback Control Systems (FCS)
Dr. Imtiaz Hussain
email: imtiaz.hussain@faculty.muet.edu.pk
URL :http://imtiazhussainkalwar.weebly.com/
Lecture-15-16-17
Time Domain Analysis of 2nd Order Systems

## Slide 2: Introduction
We have already discussed the affect of location of pole and zero on the transient response of 1st order systems.
Compared to the simplicity of a first-order system, a second-order system exhibits a wide range of responses that must be analyzed and described.
Varying a first-order system's parameters (T, K) simply changes the speed and offset of the response
Whereas, changes in the parameters of a second-order system can change the form of the response.
A second-order system can display characteristics much like a first-order system or, depending on component values, display damped or pure oscillations for its transient response.

## Slide 3: Introduction
A general second-order system (without zeros) is characterized by the following transfer function.
Open-Loop Transfer Function
Closed-Loop Transfer Function

## Slide 4: Introduction
un-damped natural frequency of the second order system, which is the frequency of oscillation of the system without damping.
damping ratio of the second order system, which is a measure of the degree of resistance to change in the system output.

## Slide 5: Example#1
Determine the un-damped natural frequency and damping ratio of the following second order system.
Compare the numerator and denominator of the given transfer function with the general 2nd order transfer function.

## Slide 6: Introduction
The closed-loop poles of the system are

## Slide 7: Introduction
Depending upon the value of , a second-order system can be set into one of the four categories:
Overdamped - when the system has two real distinct poles ( >1).
-a
-b
-c
δ
jω

## Slide 8: Introduction
According the value of , a second-order system can be set into one of the four categories:
2. Underdamped - when the system has two complex conjugate poles (0 < <1)
-a
-b
-c
δ
jω

## Slide 9: Introduction
According the value of , a second-order system can be set into one of the four categories:
3. Undamped - when the system has two imaginary poles ( = 0).
-a
-b
-c
δ
jω

## Slide 10: Introduction
According the value of , a second-order system can be set into one of the four categories:
4. Critically damped - when the system has two real but equal poles ( = 1).
-a
-b
-c
δ
jω

## Slide 11: Time-Domain Specification
For 0< <1 and ωn > 0, the 2nd order system’s response due to a unit step input looks like

## Slide 12: Time-Domain Specification
The delay (td) time is the time required for the response to reach half the final value the very first time.

## Slide 13: Time-Domain Specification
The rise time is the time required for the response to rise from 10% to 90%, 5% to 95%, or 0% to 100% of its final value.
For underdamped second order systems, the 0% to 100% rise time is normally used. For overdamped systems, the 10% to 90% rise time is commonly used.
13

## Slide 14: Time-Domain Specification
The peak time is the time required for the response to reach the first peak of the overshoot.
14
14

## Slide 15: Time-Domain Specification
The maximum overshoot is the maximum peak value of the response curve measured from unity. If the final steady-state value of the response differs from unity, then it is common to use the maximum percent overshoot. It is defined by
The amount of the maximum (percent) overshoot directly indicates the relative stability of the system.

## Slide 16: Time-Domain Specification
The settling time is the time required for the response curve to reach and stay within a range about the final value of size specified by absolute percentage of the final value (usually 2% or 5%).

## Slide 17: S-Plane
δ
jω
Natural Undamped Frequency.
Distance from the origin of s-plane to pole is natural undamped frequency in rad/sec.

## Slide 18: S-Plane
δ
jω
Let us draw a circle of radius 3 in s-plane.
3
-3
-3
3
If a pole is located anywhere on the circumference of the circle the natural undamped frequency would be 3 rad/sec.

## Slide 19: S-Plane
δ
jω
Therefore the s-plane is divided into Constant Natural Undamped Frequency (ωn) Circles.

## Slide 20: S-Plane
δ
jω
Damping ratio.
Cosine of the angle between vector connecting origin and pole and –ve real axis yields damping ratio.

## Slide 21: S-Plane
δ
jω
For Underdamped system therefore,

## Slide 22: S-Plane
δ
jω
For Undamped system therefore,

## Slide 23: S-Plane
δ
jω
For overdamped and critically damped systems therefore,

## Slide 24: S-Plane
δ
jω
Draw a vector connecting origin of s-plane and some point P.
P

## Slide 25: S-Plane
δ
jω
Therefore, s-plane is divided into sections of constant damping ratio lines.

## Slide 26: Example-2
Determine the natural frequency and damping ratio of the poles from the following pz-map.

## Slide 27: Example-3
Determine the natural frequency and damping ratio of the poles from the given pz-map.
Also determine the transfer function of the system and state whether system is underdamped, overdamped, undamped or critically damped.

## Slide 28: Example-4
The natural frequency of closed loop poles of 2nd order system is 2 rad/sec and damping ratio is 0.5.
Determine the location of closed loop poles so that the damping ratio remains same but the natural undamped frequency is doubled.

## Slide 29: Example-4
Determine the location of closed loop poles so that the damping ratio remains same but the natural undamped frequency is doubled.

## Slide 30: S-Plane

## Slide 31: Step Response of underdamped System
The partial fraction expansion of above equation is given as
Step Response

## Slide 32: Step Response of underdamped System
Above equation can be written as
Where , is the frequency of transient oscillations and is called damped natural frequency.
The inverse Laplace transform of above equation can be obtained easily if C(s) is written in the following form:

## Slide 33: Step Response of underdamped System

## Slide 34: Step Response of underdamped System
When

## Slide 35: Step Response of underdamped System

## Slide 36: Step Response of underdamped System

## Slide 37: Step Response of underdamped System

## Slide 38: Step Response of underdamped System

## Slide 39: Step Response of underdamped System

## Slide 40: Time Domain Specifications of Underdamped system

## Slide 41: Time Domain Specifications (Rise Time)

## Slide 42: Time Domain Specifications (Rise Time)

## Slide 43: Time Domain Specifications (Rise Time)

## Slide 44: Time Domain Specifications (Peak Time)
In order to find peak time let us differentiate above equation w.r.t t.

## Slide 45: Time Domain Specifications (Peak Time)

## Slide 46: Time Domain Specifications (Peak Time)
Since for underdamped stable systems first peak is maximum peak therefore,

## Slide 47: Time Domain Specifications (Maximum Overshoot)

## Slide 48: Time Domain Specifications (Maximum Overshoot)

## Slide 49: Time Domain Specifications (Settling Time)
Real Part
Imaginary Part

## Slide 50: Time Domain Specifications (Settling Time)
Settling time (2%) criterion
  Time consumed in exponential decay up to 98% of the input.
Settling time (5%) criterion
  Time consumed in exponential decay up to 95% of the input.

## Slide 51: Summary of Time Domain Specifications
Rise Time
Peak Time
Settling Time (2%)
Settling Time (4%)
Maximum Overshoot

## Slide 52: Example#5
Consider the system shown in following figure, where damping ratio is 0.6 and natural undamped frequency is 5 rad/sec. Obtain the rise time tr, peak time tp, maximum overshoot Mp, and settling time 2% and 5% criterion ts when the system is subjected to a unit-step input.

## Slide 53: Example#5
Rise Time
Peak Time
Settling Time (2%)
Maximum Overshoot
Settling Time (4%)

## Slide 54: Example#5
Rise Time

## Slide 55: Example#5
Peak Time
Settling Time (2%)
Settling Time (4%)

## Slide 56: Example#5
Maximum Overshoot

## Slide 57: Example#5

## Slide 58: Example#6
For the system shown in Figure-(a), determine the values of gain K and velocity-feedback constant Kh so that the maximum overshoot in the unit-step response is 0.2 and the peak time is 1 sec. With these values of K and Kh, obtain the rise time and settling time. Assume that J=1 kg-m2 and B=1 N-m/rad/sec.

## Slide 59: Example#6

## Slide 60: Example#6
Comparing above T.F with general 2nd order T.F

## Slide 61: Example#6
Maximum overshoot is 0.2.
The peak time is 1 sec

## Slide 62: Example#6

## Slide 63: Example#6

## Slide 64: Example#7
When the system shown in Figure(a) is subjected to a unit-step input, the system output responds as shown in Figure(b). Determine the values of a and c from the response curve.

## Slide 65: Example#8
Figure (a) shows a mechanical vibratory system. When 2 lb of force (step input) is applied to the system, the mass oscillates, as shown in Figure (b). Determine m, b, and k of the system from this response curve.

## Slide 66: Example#9
Given the system shown in following figure, find J and D to yield 20% overshoot and a settling time of 2 seconds for a step input of torque T(t).

## Slide 67: Example#9

## Slide 68: Example#9

## Slide 69: Step Response of critically damped System ( )
The partial fraction expansion of above equation is given as
Step Response

## Slide 70: Step Response of overdamped and undamped Systems
Home Work

## Slide 72: Second – Order System
Example 10: Describe the nature of the second-order system response via the value of the damping ratio for the systems with transfer function
Do them as your own revision

## Slide 73: End of Lectures-15-16-17
To download this lecture visit
http://imtiazhussainkalwar.weebly.com/